Sample Sluice Room & Equipment Daily Check List

Ward/Department: ………………….

Complete daily – Insert Answer (Y =yes or N = No), If answer is No – report deficit to manager in charge for immediate appropriate action.

| Standard | Mon | Tues | Wed | Thurs | Fri | Sat | Sun |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date & Time |  |  |  |  |  |  |  |
| Signature/Initials |  |  |  |  |  |  |  |
| PPE (aprons, gloves, masks/goggles) is available and easily accessible for use in the sluice room. |  |  |  |  |  |  |  |
| A clean designated colour coded/labelled bucket/ bowl for decontamination of patient care equipment is available. |  |  |  |  |  |  |  |
| Designated colour coded disposable cloths and paper towel for decontamination of patient care equipment. |  |  |  |  |  |  |  |
| Clinical hand wash sink with wall mounted soap and paper towels and pedal operated bin are clean |  |  |  |  |  |  |  |
| There is unobstructed access to clinical hand wash sink |  |  |  |  |  |  |  |
| Commodes are in a good state of repair |  |  |  |  |  |  |  |
| Commodes (including underside) are clean and ready for use |  |  |  |  |  |  |  |
| All bedpans and urinals are stored clean, dry and inverted on a designated storage rack |  |  |  |  |  |  |  |
| The bedpan/urinal storage rack spill trays are clean. |  |  |  |  |  |  |  |
| Appropriate detergent solution with pump is available |  |  |  |  |  |  |  |
| Chlorine releasing disinfection tablets/solution with dilution bottle//jug) is available |  |  |  |  |  |  |  |
| Bedpan washers are in working order. Check utensils clean post cycle. |  |  |  |  |  |  |  |
| Bedpan washer detergent/descaler solution is in use; the marked detergent level is decreasing, and is within safe level for usage. |  |  |  |  |  |  |  |
| All external surfaces of the bedpan washer are clean. |  |  |  |  |  |  |  |
| All internal surfaces including utensil cradle are clean and free from deposits. |  |  |  |  |  |  |  |
| Observe wash cycle and record (max temp and time held - 81°x 1 min or 90°x 6 seconds) |  |  |  |  |  |  |  |
| The sluice is clean and free from spillages |  |  |  |  |  |  |  |
| Inappropriate items of equipment are not stored in this room. |  |  |  |  |  |  |  |
| A clean, dry toilet brush and holder is available for cleaning the sluice sink |  |  |  |  |  |  |  |
| Deficits identified |  |  |  |  |  |  |  |
| State action taken |  |  |  |  |  |  |  |